ANSWER SCRIPT COVER PAGE

NED University of Engineering & Technology

Online Fall Semester Examinations - 2020

| Seat No. BM17040________ Batch _2017____________ Course Title Biomedical Imaging_______ Course Code _BM406________ Enrol No. _NED/1382/2017_____________ Date 6 Feb 2021______ PLEASE READ THESE INSTRUCTIONS CAREFULLY - Download and print this cover page (separately for each exam). - Fill the above mentioned particulars before attempting the questions. - Students are not allowed to use red or green ink. Solve the questions on A4 size paper using blue or black pen ONLY. | Question No.; Award. First Examiner/ Internal; Second/ External Examiner/ ERC. 1.. 2.. 3.. 4.. 5.. 6.. 7.. 8.. 9.. 10.. 11.. 12.. Total in figures. Total in words. |
| --- | --- |

First / Internal Examiner’s Signature

Second / External Examiner’s / ERC Signature

# Biomedical Imaging

## Question # 1

- Hard X- Rays

  - Hard X-Rays are used for Radiological Examinations. X-Rays are ionizing radiation with energies ranging from 10KeV to 120KeV

- Gaussian Noise

  - Human Hard Tissue blocks or absorbs X-Rays from reaching the X-Ray Detector producing a  bright silhouette on the detector and X- Rays that pass through cause dark signals.

- Absorption of x-rays

  - Human Hard Tissue absorbs X-Rays from reaching the X-Ray Detector producing a  bright silhouette on the detector and X- Rays that pass through cause dark signals. The Amount of X-Rays absorbed reflects the tissue density.

- Anatomical

  - X-Rays can be used to distinguish anatomical features that interact with X-Rays

- Shadow Image

  - X-Rays produce bright silhouette when incident on the parts of Human Body that absorb X-Rays, the detector detect X- Rays and produce dark signal where X-Rays pass through the soft body.

- Histogram equalization

  - Histogram Equalization means spreading the Gray Value which in turn enhances the contrast of the Image.

- 2nd order derivative

  - Laplacian Filter is  a Type of 2nd Order Derivative Filter used for sharpening images

- X-rays

  - X-Rays are used for radiological Examination where as Gamma Radiation is usually used for treatment of Cancer and UV Radiation is usually used for disinfection.

- 16 levels

  - 2^4 = 16,

- Non-invasive diagnostic

  - X-Rays are commonly used for Diagnostic purposes and it is non-invasive i.e does not require any incision into the human body.

## Question # 2

- R1: 200, 200, 200, 80, 80, 80, 
R2: 200, 255, 200, 200, 0, 200,
R3: 128, 128, 128, 128, 128, 128,
R4: 200,  200,  200, 200, 200, 200, 
R5: 200, 0, 200, 200, 255, 200,
R6: 200, 200, 200, 200, 200, 200,

- R1: 231, 231, 231, 160, 160, 160,
R2: 231, 255, 231, 231, 0, 231, 
R3: 194, 194, 194, 194, 194, 194, 
R4: 231, 231, 231, 231, 231, 231, 
R5: 231,  0,  231, 231,  255, 231,
R6: 231, 231, 231, 231, 231, 231,

- R1: 255, 255, 255, 0 , 0, 0,
R2: 255, 255, 255, 255, 0, 255, 
R3: 255, 255, 255, 255, 255, 255, 
R4: 255, 255, 255, 255, 255, 255, 
R5: 255, 0, 255, 255, 255, 255, 
R6: 255, 255, 255, 255, 255, 255,

- Region
R1: 80, 80, 80, 
R2: 200, 0, 200,
R3: 128, 128, 128,

Application of Median Filter
R1: 80, 80, 80, 
R2: 200, 128, 200, 
R3: 128, 128, 128,

- Region 
R1: 80, 80, 80, 
R2: 200, 0, 200,
R3: 128, 128, 128,

Application of Geometric Mean Filter
R1: 80, 80, 80, 
R2: 200, 0, 200,
R3: 128, 128, 128

Conclusion:
Geometric Mean filter has no effect on the region of interest whereas median filter is able to significantly improve the quality of the image.

## Question # 3

- Computerized Tomography

- Voltage : 25KV - 150KV 
Current: 400 - 1000 A 
Frequency : 30 petahertz - 30 exahertz 
Energy : ~ in 100KeV 
Wavelengths: 10 picometers -10 nanometers

- X-Rays are generated by bombarding high energy electrons from cathode onto a spinning Tungsten Anode, the electrodes can have a potential difference from 25 to 150 KeV. Spinning Anode is used to minimize single point of degradation from high energy electrons. 99% of energy is lost as heat therefore spinning anode also helps in the dissipation of heat.

- We Chain Multiple Filters to enhance the image suiting our need 
Example

  - Applying Enhancement Filter Like 2nd Order Differential Filter like Laplacian Filter

  - Followed by a Median Smoothing Filter and then,

  - Power Law Transformation

- Contraharmonic Mean Filter with a Positive Order can be used to eliminate Pepper Noise from an Image

## Question # 4

- CT Scan

- High Radiation Exposure 100 Times more than a X-Ray, Distortion

- By Making the patient calm and still, image quality can be improved.
Using a circular Array.
Anti Scatter Grid

- Anode is an an circular Array of detectors

- CT scan uses X-Rays but produces many slices to construct a 3D Image. It Uses circular array of detectors to capture X-Rays.